PROGRAM CHECKLISTS

These checklists should be submitted as separate, “pull-off” attachments to the program. The purpose of a checklist is two-fold: (1) to allow the program-writer to organize/verify the information presented in the narrative description of the project and (2) to allow DGS to quickly ascertain the scope and completeness of the program submission. Depending on the type of projects being requested (new building, renovation, utility, site development), the program-writer should complete the appropriate checklist(s) and submit it with Part II.

1. NEW BUILDING PROJECT CHECKLIST

The following checklist shall be completed for projects involving construction of a new structure and includes an addition, extension or replacement of an existing structure. Because a new building project may also require renovation and utility extension work and generally involves site improvements, the program-writer should also complete either or both of these checklists if they are appropriate to the project under consideration.

|  | Yes | No | N/A |
| --- | --- | --- | --- |
| a. Architectural style preferences (If yes, explain on separate sheet.) |  |  |  |
| b. Work schedules or phases |  |  |  |
| c. Coordination with master development plan |  |  |  |
| d. Funding constraints (If yes, what are they?) |  |  |  |
| e. Site selected |  |  |  |
| f. Preferred vistas (If yes, describe.) |  |  |  |
| g. Excavation, clearing, razing constraints (If yes, explain.) |  |  |  |
| h. Other construction in area |  |  |  |
| i. Utilities on site |  |  |  |
| j. Special design features (Describe on separate sheet.) |  |  |  |
| k. Space needs: present and future |  |  |  |
| Entire facility |  |  |  |
| Functional areas |  |  |  |
| Rooms |  |  |  |
| l. Space needs: net sq. footage |  |  |  |
| Entire facility |  |  |  |
| Functional areas |  |  |  |
| Rooms |  |  |  |
| m. Special dimension and space requirements |  |  |  |
| n. Nature of work and services described |  |  |  |
| o. Functional and spatial layouts |  |  |  |
| p. Workload projections |  |  |  |
| q. Special working hours or shifts |  |  |  |
| r. Work flow described |  |  |  |
| s. Clerical-professional ratio |  |  |  |
| t. Client - staff ratio |  |  |  |
| u. Client - staff traffic preferences |  |  |  |
| v. Office layout preferences |  |  |  |
| w. Special room/area features |  |  |  |
| x. Climate control considerations |  |  |  |
| y. Furniture and equipment needs |  |  |  |
| z. Special lighting needs |  |  |  |
| aa. Information technology needs (voice, video, data, & wireless) |  |  |  |
| bb. Special access/egress requirements |  |  |  |
| NEW BUILDING PROJECTS CHECKLIST (continued) |
|  | Yes | No | N/A |
| cc. Preferred floor, wall or ceiling material |  |  |  |
| dd. Security considerations |  |  |  |
| Electrically controlled doors |  |  |  |
| TV-monitoring system |  |  |  |
| Secured utilities |  |  |  |
| Secured windows |  |  |  |
| Motion Detectors |  |  |  |
| Door and window alarm |  |  |  |
| Alarm links to offsite locations |  |  |  |
| ee. Considerations to be given to: |  |  |  |
| Equipment storage and maintenance |  |  |  |
| Heat and sound insulation |  |  |  |
| Linen and janitor closets |  |  |  |
| Utility area |  |  |  |
| Physical plant needs |  |  |  |
| Trash removal |  |  |  |
| Delivery dock |  |  |  |
| Escalator, elevator, stairways |  |  |  |
| Fire protection and sprinklers |  |  |  |
| Food preparation and delivery |  |  |  |
| Dining facilities |  |  |  |
| Client and staff transportation systems |  |  |  |
| Signage and entranceway needs |  |  |  |
| Accommodations for youth, aged, and handicapped |  |  |  |
| Restroom and shower facilities |  |  |  |
| Special water supply or utility needs |  |  |  |
| Recreation/play areas |  |  |  |

NOTE: For each item checked yes, ensure an explanatory narrative is included in the body of the program.

2.  RENOVATION PROJECT CHECKLIST

Renovation projects are diversified in nature and in scope. For this reason, the program-writer should complete and submit the new building project, utility project, or site development checklists(s) as appropriate to the project under consideration.

3.  UTILITY PROJECT CHECKLIST

The following checklist shall be completed for programs which exclusively involve a utility improvement or as a supplement to a new building or renovation project if appropriate.

|  | Yes | No | N/A |
| --- | --- | --- | --- |
| a. Zoning consideration |  |  |  |
| b. Energy management and conservation consideration |  |  |  |
| c. Temperature control system described (preferably DDC) |  |  |  |
| d. Condition and capacity of underground items lines |  |  |  |
| e. Central or individual steam service |  |  |  |
| f. Condition and capacity of existing sewage system |  |  |  |
| g. Fuel oil storage (tank capacity in gallons) |  |  |  |
| h. Service road for fuel deliveries |  |  |  |
| i. Facility for bulk fuel deliveries |  |  |  |
| j. Present water lines adequate |  |  |  |
| k. Special size and location of water lines |  |  |  |
| l. Special water supply and treatment |  |  |  |
| m. 140 F water to dishwashers, janitor slop sinks |  |  |  |
| n. 110 F water to patient rooms, rest rooms, other areas |  |  |  |
| o. Visual/audible alarm and automatic shut off for hot water |  |  |  |
| p. Sinks provided in special areas |  |  |  |
| q. System for handling trash and garbage explained |  |  |  |
| r. Incinerator requirements |  |  |  |
| s. Life-cycle costs analysis required for HVAC system |  |  |  |
| t. Compliance with ASHRAE 90.1-1989 |  |  |  |
| u. HVAC designed to allow repairs to one component without affecting entire system (distribution zone isolation valves) |  |  |  |
| v. Need to convert boilers to gas or dual fuel (ASHRAE 62-1989) |  |  |  |
| w. Special ventilation requirements |  |  |  |
| x. Attic ventilation required |  |  |  |
| y. EDP area considerations |  |  |  |
| z. Storm window installation |  |  |  |
| aa. Thermopane and tinted glass installation |  |  |  |
| bb. Security grilles for duct work |  |  |  |
| cc. Kitchen and lab hoods supplied with independent sources of makeup air |  |  |  |
| dd. Fusible links in dampers resettable and accessible |  |  |  |
| ee. Voltage capacity identified |  |  |  |
| ff. Amperage services identified |  |  |  |
| gg. Adequate transformer capacity |  |  |  |
| hh. Capacity of emergency generators identified |  |  |  |
| ii. Overhead or underground distribution system |  |  |  |
| jj. Looped (reverse return) or non-looped distribution system |  |  |  |
| kk. Electrical code service performance |  |  |  |
| UTILITY PROJECT CHECKLIST (continued) |
|  | Yes | No | N/A |
| ll. Service power factor specified |  |  |  |
| mm. Lighting system described (high efficiency lamps & ballasts) |  |  |  |
| nn. Intercom system required |  |  |  |
| oo. Smoke detectors installed |  |  |  |
| pp. Fire alarm system adequate: |  |  |  |
| Tied into local Fire Department |  |  |  |
| Coded alarm system |  |  |  |
| Testable |  |  |  |
| Trouble alarm |  |  |  |
| qq. Describe type and condition of telecommunication distribution system (Fiber optic, data, voice) |  |  |  |

NOTE: For each item checked yes, ensure an explanatory narrative is included in the body of the program.

4.  SITE DEVELOPMENT CHECKLIST

(a)	Land Use and Acquisition Criteria Checklist

Project:________________________________________ DGS Project No:________________

Requesting Agency:___________________________________Date:____________________

This check list shall be used by the Department of General Services (DGS) to determine the feasibility and suitability of land for construction sites for proposed State of Maryland facilities.

This form shall be completed for programs which exclusively involve a site improvement or as a supplement to projects involving the construction of a new building. This form will generally not be required for programs involving the alteration, conversion, renovation or restoration of an existing structure or for utility projects.

This list shall be completed in its entirety by the Requesting Agency and submitted with the recommendation of the Requesting Agency for acceptance or rejection of the site, to the Secretary of DGS prior to consideration of the site for acquisition.

Should technical assistance be required to complete this checklist, the Requesting Agency should contact DGS for staff assistance.

I.	SITE LOCATION:

1.	County____________, City/Town_____________, Street Address__________________

2.	Boundaries (streets, steams, etc,) _____________________________________________

3.	SHA County Map (Scale: 1" = miles): Attach copy showing property and surrounding 		area to a five mile radius. Indicate property in red.

II.	SITE DESCRIPTION:

1.	Size of property:_______________Acres

2.	Existing Easements and Rights-of-Way (check and indicate on property plat):

|  | gas transmission |  |  |  | mineral rights |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | electrical |  |  |  | storm drainage |  |  |
|  | sanitary sewers |  |  |  | other (specify) |  |  |
|  | water |  |  |  |  |  |  |
|  | telecom cable |  |  |  |  |  |  |

SITE DEVELOPMENT CHECKLIST (continued)

3.	Existing Improvements (check):

A.	Building(s)___; Paved Roads____; Paved Parking Lots___; Wells ____; 					Walks____; Retaining  Walls____; Fences____; Septic System(s)_____; Existing 				Building: Owner Occupied_____, Tenant Occupied ____, Length of Lease _____,

Other _______ (specify).

B.	Building: No. of Stories______; Gross Area______; sq. ft; Length______ft;

Width_______ft.

C.	Paved Areas: Length____ft; Width_____ft; Area ______sq. ft.

4.	Present Zoning and Land Use:

A.	Existing Zoning (specify): _______________________________________

B.	Existing land Use (check): Farmland__________; Commercial________;

Industrial____; Residential____; Other____________________________.

5.	Surface Characteristics:

| Wetlands |  |
| --- | --- |
| Wooded |  |
| Lakes, Streams or Ponds |  |
| Swamps |  |
| Agricultural |  |
| Improved Land |  |
| with Structures |  |
| Other |  |

6.  	Surface Soil Characteristics: 	Residual___%; Alluvial___%; Artificial Fill___%;

Marine Clays___% Hydric___%;

7.  	Underlying Geologic Strata (check): 	Alluvial Deposit___%; Artificial Fill___%;

Crystalline Rocks___%; Sedimentary Rocks___%; Limestone___%;

8.	Depth and Type of Rock Below Surface:      Depth___ft;     Type______________

Depth and Type of Water Table Surface:      Depth___ft;     Type______________

9.	Topography:

A.	Variance in Grades:  precipitous_____%  steep______%  rolling______%

B.	Supplemental Information (check):

SITE DEVELOPMENT CHECKLIST (continued)

|  | Attached |  | Not Available |
| --- | --- | --- | --- |
| Photogrammetry (obtain from Dept/Agriculture; DGS) |  |  |  |
| USDA Photos (obtain from Dept/Agriculture) |  |  |  |
| USCGS (National Geodetic Survey) Maps |  |  |  |
| Field Survey - Topographical |  |  |  |
| Flood Plain/Wetlands (FEMA) |  |  |  |

10.	Existing Drainage Characteristics (check): Inlets/storm drains________; nearby 				streams___;   on-site streams_____; lakes ___; roadway ditches ____; adjacent properties 		drain to subject site_____; other ________________ (specify).

11.	Wildlife Habitat (check): Flyway____; Wetland ___; Woodland______.

12.	Accessibility to Site (check): Direct access from improved road_____; direct access from unimproved road_____; direct access from improved right-of-way____; direct access from unimproved right-of-way______; single access______; multiple access______.

III.	PROPERTY PLAT AND DEED

1.	Plat (copy attached)  _______ (check)

2.	Deed (copy attached)  ______ (check)

3.	Liber & Folio (copy attached) if plat & deed are not available (check)

4.	Ownership (check)

| Federal |  | (Agency) |  |
| --- | --- | --- | --- |
| State |  | (Agency) |  |
| County |  | (Agency) |  |
| City/Town |  | (Agency) |  |
| Private |  | (Single/Joint/Estate) |  |
| Corporate |  |  |  |
| Other (specify) |  |  |  |

IV.	UTILITIES & SERVICES:

1.	Indicate on property plat and location map the availability of the following:

| Type | Capacity/Size |  | Distance from Site (If on-site, designate “o.s.”) |
| --- | --- | --- | --- |
| Electric |  |  |  |
| Storm System |  |  |  |
| Sanitary Sewer |  |  |  |
| Water (public) |  |  |  |
| Gas |  |  |  |
| Telephone |  |  |  |
| Telecommunications |  |  |  |

SITE DEVELOPMENT CHECKLIST (continued)

2.	Nearest Fire Department:	Location_________________________

Distance to site:   ____________Miles

3.	Public Parking available (check)	Yes_____;	No_______;

Distance from site  _______Ft; No. spaces available__________

Describe ___________________________________________

4.	Well Water (check):  Available______;  Not Available____;   Potable____.

5.	Percolation Tests: Indicate areas on property plat where they have been performed and circumstances whereby testing was accomplished. Furnish available supporting data or information:

Test performed___________. Satisfactory______. Unsatisfactory______.

6.	Drainage Outfall: Indicate on property plat and location to the nearest location for the 			disposal of storm water from the subject site.

V.	PROPOSED LAND USE COMPATIBILITY:

1.	Proposed Zoning (specify)____________________________________________.

2.	Proposed parking requirements (number): Autos___________: Other__________.

3.	Floodplain Management (check):

| 5-year Floodplain |  |
| --- | --- |
| 10-year Floodplain |  |
| 25-year Floodplain |  |
| 50-year Floodplain |  |
| 100-year Floodplain |  |

4.	Project Coordination (check):

|  | Yes | No | Not Applicable |
| --- | --- | --- | --- |
| Local Government Acceptance |  |  |  |
| County Government Acceptance |  |  |  |
| Compatible with State Highway Administration Plans |  |  |  |
| Community Acceptance |  |  |  |
| Approved Dept. Budget and Management |  |  |  |
| Other________________________ |  |  |  |

5.	Aircraft-Landing Flight Path (check):

On site______; adjacent to site_______ (_______); N/A_______

SITE DEVELOPMENT CHECKLIST (continued)

6.	Indicate on property plat:

A.	Present ownership and development of each surrounding property.

B.	Proposed development of surrounding undeveloped property.

7.	Historical, Archaeological or Unusual Features (check):

| landmarks |  | unusual geologic formations |  |
| --- | --- | --- | --- |
| historic site |  | unusual large trees that might be recorded in State or National registry |  |
| historic buildings |  |  |  |  |

_____________________________________________

(Prepared by)					(Phone)

_____________________________________________

(Title)

Attachments (check):

1.	_____SHA County Map (with information indicated thereon)

2.	_____Property Plat (with information indicated thereon)

3.	_____Property Deed

4.	_____Topographical

5.	_____Other________________________________________

(b)	Site Development Checklist Supplement

This form is a supplement to the “Checklist:   Land Use and Acquisition Criteria” form and shall likewise be submitted for programs which exclusively involve a site improvement or as an attachment to projects which pertain to the construction of a new building.

|  | Yes | No | N/A |
| --- | --- | --- | --- |
| 1. Site selected |  |  |  |
| 2. State-titled property |  |  |  |
| 3. Map, plat or sketch provided |  |  |  |
| 4. Land/space needs estimated |  |  |  |
| 5. Estimates on number of occupants, participants or visitors at site included |  |  |  |
| 6. Other construction in the area |  |  |  |
| 7. Special work scheduling requirements |  |  |  |
| 8. Excavation, demolition, clearing work required |  |  |  |
| 9. Unusual site considerations explained |  |  |  |
| 10. Hazards on/near site |  |  |  |
| 11. Curb or guttering required for drainage |  |  |  |
| 12. Special sediment control considerations |  |  |  |
| 13. Turn-around space for trucks considered |  |  |  |
| 14. Construction storage area available |  |  |  |
| 15. Sanitary sewer at site |  |  |  |
| 16. Potable water at site |  |  |  |
| 17. Electric power at site |  |  |  |
| 18. Irrigation needs |  |  |  |
| 19. Seeding or sodding requirements |  |  |  |
| 20. Parking considerations: |  |  |  |
| No. of present spaces |  |  |  |
| No. of new spaces |  |  |  |
| Special vehicle space |  |  |  |
| Handicapped parking |  |  |  |
| 22. Special construction material requirements |  |  |  |
| 23. Lighting considerations: |  |  |  |
| Sidewalks |  |  |  |
| Parking area |  |  |  |
| Roads |  |  |  |
| Play/activity area |  |  |  |
| Sign |  |  |  |
| Flag |  |  |  |
| 24. Accommodations for handicapped |  |  |  |
| 25. Telecommunication needs |  |  |  |
| 26. Security requirements |  |  |  |
| 27. Fencing needs |  |  |  |
| 28. Fire protection system |  |  |  |
| 29. Play/outdoor area provided |  |  |  |
| (b) Site Development Checklist Supplement (continued) |
|  | Yes | No | N/A |
| 30. Seating and furniture needs |  |  |  |
| 31. Restroom and shower facilities Seasonal/Year Round |  |  |  |
| 32. Special equipment requirements |  |  |  |
| 33. Special storage space needs |  |  |  |
| 34. Underground or above ground tanks; new/planned |  |  |  |
| 35. Archeological significant features |  |  |  |
| 36. Clearing house approval |  |  |  |

NOTE: For each item checked yes, ensure an explanatory narrative is included in the body of the program.